## Network
Price	Ebay / Pricing	Imgur	Manufacturer	Model	Serial#		Software / Version		Bootrom		Software / Date	Noise / (idle)	Power / Draw / (idle)	SFPs / Modules		Notes
950	1300	https://imgur.com/a/u8cHv5d	Arista	DCS-7050SX-72-F	JPE15320538		4.22.4M		N/A		2019	Very loud	114W	6x40GbE (2xMXP) / Port Manufacturer Model Serial Number Rev / ---- ---------------- ---------------- ---------------- ---- / 17 Arista Networks GPP-85192-SRC GM1702131764 1.1 / 18 Arista Networks GPP-85192-SRC GM1702131782 1.1 / 19 Arista Networks GPP-85192-SRC GM1702131770 1.1 / 20 Arista Networks GPP-85192-SRC GM1702131756 1.1 / 21 Arista Networks GPP-85192-SRC GM1702131771 1.1 / 22 Arista Networks GPP-85192-SRC GM1702131757 1.1 / 25 Arista Networks SFP-10G-SR XMD1602D30TG 0002 / 26 Arista Networks SFP-10G-SR XMD1602D32BL 0002 / 27 Arista Networks SFP-1G-SX XCW1511QH1Y6 0002 / 28 Arista Networks SFP-1G-T XMD1018MCGWR 0002 / 29 Arista Networks SFP-1G-T XHN161700427 0002 / 30 Arista Networks SFP-1G-T XHN161700401 0002 / 31 Arista Networks SFP-10G-SR XMD1602D30UB 0002
950	1300	https://imgur.com/a/Nhw3non	Arista	DCS-7050SX-72-F	JPE14292091		4.22.4M		N/A		2019	Very loud	114W	6x40GbE (2xMXP) / Port Manufacturer Model Serial Number Rev / ---- ---------------- ---------------- ---------------- ---- / 17 Arista Networks GPP-85192-SRC GM1702131760 1.1 / 18 Arista Networks GPP-85192-SRC GM1702131779 1.1 / 19 Arista Networks GPP-85192-SRC GM1702131781 1.1 / 20 Arista Networks GPP-85192-SRC GM1702131772 1.1 / 21 Arista Networks GPP-85192-SRC GM1702131785 1.1 / 22 Arista Networks GPP-85192-SRC GM1702131769 1.1 / 25 Arista Networks SFP-10G-SR XMD1602D30UD 0002 / 26 Arista Networks SFP-10G-SR XMD1602D32B0 0002 / 27 Arista Networks SFP-1G-SX XCW1511QH0K8 0002 / 28 Arista Networks SFP-1G-T XMD1239MCJ8L 0002 / 29 Arista Networks SFP-1G-T XHN161702319 0002 / 30 Arista Networks SFP-1G-T XHN161700403 0002
100	250	https://imgur.com/a/H6Q7vE9	Brocade	ICX6450-48P	BZT2520H019		07.4.00T313		07.4.00T310		03/02/12	Loud	52W	ICX6450-SFP-Plus 4port 40G Module
100	250	https://imgur.com/a/eyQSmLY	Brocade	ICX6450-48P	BZT0423J023		08.0.30cT311		10.1.05T310		08/23/15	Loud	50W	ICX6450-SFP-Plus 4port 40G Module
100	250	https://imgur.com/a/mdVxmeu	Brocade	ICX6450-48P	BZT0423J01X		08.0.30cT311		10.1.05T310		08/23/15	Loud	48W	ICX6450-SFP-Plus 4port 40G Module		Right ear bent
100	250	https://imgur.com/a/QSRy4oB	Brocade	ICX6450-48p	BZT3228K02P		07.4.00T313		07.4.00T310		03/02/12	Loud	52W	ICX6450-SFP-Plus 4port 40G Module
100	250	https://imgur.com/a/3YIpXsN	Brocade	ICX6450-48p	BZT3234K0EJ		07.4.00T313		07.4.00T310		03/02/12	Loud	52W	ICX6450-SFP-Plus 4port 40G Module
100	250	https://imgur.com/a/JG8XAoy	Brocade	ICX6450-48p	BZT2520H01B		07.4.00T313		07.4.00T310		03/02/12	Loud	52W	ICX6450-SFP-Plus 4port 40G Module
		https://imgur.com/a/bDJTsrx	Brocade	ICX 6400-EPS1500	BZV2517H03Z		N/A		N/A		N/A	Medium	181W	None		Includes 3 DC-DC Cables and two AC cables / Power usage with 3 switches connected
50	300	https://imgur.com/a/3lu8UOx	Cisco	WS-C2960S-48FPD-L	FOC1723X521		15.2(2)E9		12.2(55r)SE		09/08/18	Medium	50W	None
70	300	https://imgur.com/a/TAKYqFH	Cisco	WS-C2960S-48FPD-L	FOC1737Z4RA		15.2(2)E9		12.2(55r)SE		09/08/18	Medium	50W	NAME: "Switch 1 - FlexStack Module", DESCR: "Stacking Module" / PID: C2960S-STACK , VID: V01 , SN: FOC14232DHU / NAME: "TenGigabitEthernet1/0/1", DESCR: "SFP-10GBase-SR" / PID: SFP-10G-SR , VID: V01 , SN: GTZW4638 / NAME: "TenGigabitEthernet1/0/2", DESCR: "SFP-10GBase-SR" / PID: SFP-10G-SR , VID: V01 , SN: GTZW4642
50	300	https://imgur.com/a/fyRB8Dj	Cisco	WS-C2960S-48LPD-L	FOC1436Z1DS		15.2(2)E9		12.2(53r)SE		09/08/18	Medium	43W	NAME: "Switch 3 - FlexStack Module", DESCR: "Stacking Module" / PID: C2960S-STACK , VID: V01 , SN: FOC144844BK
50	300	https://imgur.com/a/UanYPuc	Cisco	WS-C2960S-48LPD-L	FOC1436Z1DT		15.2(2)E9		12.2(53r)SE		09/08/18	Medium	43W	NAME: "Switch 3 - FlexStack Module", DESCR: "Stacking Module" / PID: C2960S-STACK , VID: V01 , SN: FOC14481K4C
70	300	https://imgur.com/a/0fnzmjS	Cisco	WS-C2960S-48FPD-L	FOC1606Z3Z2		15.2(2)E9		12.2(55r)SE		09/08/18	Medium	50W	NAME: "Switch 1 - FlexStack Module", DESCR: "Stacking Module" / PID: C2960S-STACK , VID: V01 , SN: FOC14494TGD / NAME: "TenGigabitEthernet1/0/1", DESCR: "SFP-10GBase-SR" / PID: SFP-10G-SR , VID: V01 , SN: GTZW4649 / NAME: "TenGigabitEthernet1/0/2", DESCR: "SFP-10GBase-SR" / PID: SFP-10G-SR , VID: V01 , SN: GTZW4641
70	300	https://imgur.com/a/CHw2ugn	Cisco	WS-C2960S-48LPD-L	FOC1820Z46X		15.2(2)E9		12.2(55r)SE		09/08/18	Medium	46W	NAME: "Switch 1 - FlexStack Module", DESCR: "Stacking Module" / PID: C2960S-STACK , VID: V01 , SN: FOC14482T90 / NAME: "TenGigabitEthernet1/0/1", DESCR: "SFP-10GBase-SR" / PID: SFP-10G-SR , VID: V01 , SN: GTZW4639 / NAME: "TenGigabitEthernet1/0/2", DESCR: "SFP-10GBase-SR" / PID: SFP-10G-SR , VID: V01 , SN: GTZW4643
50	300	https://imgur.com/a/DZPIEKy	Cisco	WS-C2960S-48FPD-L	FOC1629Z0LX		15.2(2)E9		12.2(55r)SE		09/08/18	Medium	48W	NAME: "Switch 2 - FlexStack Module", DESCR: "Stacking Module" / PID: C2960S-STACK , VID: V01 , SN: FOC144844YM
70	300	https://imgur.com/a/4Nx0NZa	Cisco	WS-C2960S-48LPD-L	FOC1638W3G8		15.2(2)E9		12.2(55r)SE		09/08/18	Medium	48W	NAME: "Switch 1 - FlexStack Module", DESCR: "Stacking Module" / PID: C2960S-STACK , VID: V01 , SN: FOC144845F3 / NAME: "TenGigabitEthernet1/0/1", DESCR: "SFP-10GBase-SR" / PID: SFP-10G-SR , VID: V01 , SN: GTZW4650 / NAME: "TenGigabitEthernet1/0/2", DESCR: "SFP-10GBase-SR" / PID: SFP-10G-SR , VID: V01 , SN: GTZW4635
50	300	https://imgur.com/a/tlSUUMw	Cisco	WS-C2960S-48LPD-L	FCW1850A3W7		15.2(2)E9		12.2(55r)SE1		09/08/18	Medium	42W	NAME: "Switch 2 - FlexStack Module", DESCR: "Stacking Module" / PID: C2960S-STACK , VID: V02 , SN: FOC16513J92
50	300	https://imgur.com/a/5rkRfcm	Cisco	WS-C2960S-24PD-L	FOC1429Z105		15.2(2)E9		12.2(53r)SE		09/08/18	Quiet	35W	NAME: "TenGigabitEthernet1/0/1", DESCR: "SFP-10GBase-SR" / PID: SFP-10G-SR , VID: V01 , SN: GTZW4640 / NAME: "TenGigabitEthernet1/0/2", DESCR: "SFP-10GBase-SR" / PID: SFP-10G-SR , VID: V01 , SN: GTZW3748		About $10/ea for 10G SFPs
0		https://imgur.com/a/WA93nqn	Cisco	WS-C2960G-48TC-L	FOC1115U31K		12.2(46)SE		12.2(25r)SEE1		08/21/08	Medium	62W	None		Cannot find software updates for it on cisco.com
0	100	https://imgur.com/a/cQVlQDu	Extreme	X150-48t	1118G-80776		15.2.4.5 patch 1-4		1.0.3.5		02/18/14	Quiet	33W	None		user/pass admin/<blank> / Opengear rack ears / Layer 2 only
950	3000	https://imgur.com/a/PnLR2js	Extreme	X670-48x	1151G-00668		16.2.5.4-patch1-30		2.0.1.5		04/08/21	Very loud	107W	None		User/pass admin/<blank> / Back to front airflow
950	3000	https://imgur.com/a/JC1R0Nu	Extreme	X670-48x	1151G-00662		16.2.5.4-patch1-30		2.0.1.5		04/08/21	Very loud	115W	None		User/pass admin/<blank> / Front to back airflow / Have PSU/fans for back to front
300	900	https://imgur.com/a/4PQyKlj	HP	SN6000	MY5118H083		V8.0.14.19.0		N/A		2018	Loud	47W / 35W (0SFP)	19 x AJ718A 8Gbps / 1 x FTLF8524P2BNV 4Gbs		User/pass admin/password / Left ear bent / 20 ports licensed / Tested with Win7/Java8/Palemoon Browser
300	900	https://imgur.com/a/DbozznA	HP	SN6000	MY5118H056		V8.0.14.19.0		N/A		2018	Loud	45W / 35W (0SFP)	SFP in port 10 stuck, cannot remove it / 19 x HP AJ718A 8Gbps / 1 x FTLF8524P2BNV 4Gbps		User/pass admin/password / Both ear bent / 20 ports licensed / Tested with Win7/Java8/Palemoon Browser
150	200	https://imgur.com/a/s5rmMLg	Palo Alto	PA-3020	1801040384		8.1.9		None		2019	Loud	83W	sys.s1.p13.phy: { 'link-partner': { }, 'media': SFP-Fiber, 'sfp': { 'connector': / LC, 'encoding': 8B10B, 'identifier': SFP, 'transceiver': 1000B-SX,I dist,SN, 'v / endor-name': FINISAR CORP. , 'vendor-part-number': FTLF8519P3BNL , 'vendor-p / art-rev': A , }, 'type': Ethernet, }		Wait 5 mins after booting to login / user/pass admin/admin
150	200	https://imgur.com/a/zHUK2eb	Palo Alto	PA-3020	1801032810		8.1.9		None		2019	Loud	83W	sys.s1.p13.phy: { 'link-partner': { }, 'media': SFP-Fiber, 'sfp': { 'connector': / LC, 'encoding': 8B10B, 'identifier': SFP, 'transceiver': 1000B-SX,I dist,SN, 'v / endor-name': FINISAR CORP. , 'vendor-part-number': FTLF8519P3BNL , 'vendor-p / art-rev': A , }, 'type': Ethernet, } / sys.s1.p14.phy: { 'link-partner': { }, 'media': SFP-Fiber, 'sfp': { 'connector': / LC, 'encoding': 8B10B, 'identifier': SFP, 'transceiver': 1000B-LX,LL,SM, 'vendo / r-name': FINISAR CORP. , 'vendor-part-number': FTLF1318P3BTL , 'vendor-part- / rev': A , }, 'type': Ethernet,		Wait 5 mins after booting to login / user/pass admin/admin
250	400	https://imgur.com/a/y1gSjCD	Sonicwall	NSa 2650	2CB8-ED10-CB80		6.5.4.8-89n		5.7.1.3		06/12/21	Quiet	24W	None		user/pass is admin/password / Requires special serial adapter / 115200
250	400	https://imgur.com/a/8DfW95j	Sonicwall	NSa 2650	2CB8-ED13-2840		6.5.4.8-89n		5.7.1.3		06/12/21	Quiet	24W	None		user/pass is admin/password / Requires special serial adapter / 115200

## Servers
Vendor	Price	Imgur	Model	Serial#	Product / ID	CPU	Total / Cores	Total / Memory	Memory / Detail	10G / Ports	1G / Ports	Network / Ports	Storage Controllers	FC	Raw / Disk	Hard Disks	iLO/DRAC	Fans	Fan Noise / (idle)	Power / Supplies	Power Draw / (idle)	OS / Installed	Login	Firmware versions	Notes	Diagnostics	Survey	iLO Boot	Clear IML
HPE	175	https://imgur.com/a/bTEfifA	ProLiant DL360p Gen8	MXQ2410FQX	670635-S01	2 x Intel(R) Xeon(R) CPU E5-2660 0 @ 2.20GHz / 8/8 cores; 16 threads	16	224	8 x 647650-071 8GB 2R DDR3 / 4 x 647653-081 16G 2R DDR3 / 12 x HP 8G 2R DDR3	0	4	HP Ethernet 1Gb 4-port 331FLR Adapter	Smart Array P420i Controller / 1GB Cache / Smart Array P421 Controller / 1GB Cache	No	584	4 x EH0146FBQDC / (146G SAS)	iLO Advanced / (Shared NIC1)	8	Quiet	2 x 460 Watts	140W	CentOS 7 Minimal	ILO: admin/admin1234 / OS: root/root	(See System Survey)		Yes	Yes	Yes	Yes
HPE	125	https://imgur.com/a/9e9xpab	ProLiant DL360p Gen8	MXQ347002L	737293-S01	2 x Intel(R) Xeon(R) CPU E5-2660 v2 @ 2.20GHz / 10/10 cores; 20 threads	20	128	8 x 712383-081 16GB 2R DDR3	2	4	HP FlexFabric 10Gb 2-port 533FLR-T Adapter / HP Ethernet 1Gb 4-port 331T Adapter	Smart Array P420i Controller / 2GB Cache	No	292	2 x EH0146FBQDC (146G SAS)	iLO Advanced / (Shared NIC1)	6	Quiet	2 x 750 Watts	145W	CentOS 7 Minimal	ILO: admin/admin1234 / OS: root/root	(See System Survey)		Yes	Yes	Yes	Yes
HPE	150	https://imgur.com/a/8R9m2wt	ProLiant DL360p Gen8	MXQ3030BH9	670635-S01	2 x Intel(R) Xeon(R) CPU E5-2660 0 @ 2.20GHz / 8/8 cores; 16 threads	16	344	18 x 628974-181 16G 2R DDR3 / 3 x 500205-071 8G 2R DDR3 / 3 x 500205-171 8G 2R DDR3	0	4	HP Ethernet 1Gb 4-port 331FLR Adapter	Smart Array P420i Controller / 1GB Cache	No	1200	2 x EG0600FBDSR (600GB SAS)	iLO Advanced / (Shared NIC1)	8	Quiet	2 x 460 Watts	115W	CentOS 7 Minimal	ILO: admin/admin1234 / OS: root/root	(See System Survey)	Rack ears bent to hell / Right rear bent	Yes	Yes	Yes	Yes
HPE	125	https://imgur.com/a/IFRMUz5	ProLiant DL360p Gen8	MXQ242003R	670635-S01	2 x Intel(R) Xeon(R) CPU E5-2660 0 @ 2.20GHz / 8/8 cores; 16 threads	16	216	6 x 500205-171 8G 2R DDR3 / 15 x 500205-171 8G 2R DDR3 / 3 x 647653-081 16G 2R DDR3	4	4	HP Ethernet 1Gb 4-port 331FLR Adapter / 2 x HP Ethernet 10Gb 2-port 530SFP+ Adapter	Smart Array P420i Controller / 0GB Cache	No	292	1 x EH0146FBQDC (146GB SAS) / 1 x EH0146FARWD (146GB SAS)	iLO Advanced / (Shared NIC1)	8	Quiet	2 x 460 Watts	120W	CentOS 7 Minimal	ILO: admin/admin1234 / OS: root/root	(See System Survey)	Severe rack ear damage / Right rear bent to hell / No RAID cache / 3 10G SFP modules / 1 Disk failed SMART test (controller not marked failed)	Yes	Yes	Yes	Yes
HPE	125	https://imgur.com/a/TQ6gvNg	ProLiant DL360p Gen8	MXQ2410FS4	670635-S01	2 x Intel(R) Xeon(R) CPU E5-2660 0 @ 2.20GHz / 8/8 cores; 16 threads	16	208	7 x 628974-181 16G 2R DDR3 / 12 x 500205-171 8G 2R DDR3 / (Cannot use all slots some bad?)	4	4	HP Ethernet 1Gb 4-port 331FLR Adapter / 2 x HP Ethernet 10Gb 2-port 530SFP+ Adapter	Smart Array P420i Controller / 1GB Cache	No	1800	4 x EG0450FBVFM (450GB SAS)	iLO Advanced / (Shared NIC1)	8	Quiet	2 x 460 Watts	128W	CentOS 7 Minimal	ILO: admin/admin1234 / OS: root/root	(See System Survey)	Missing 2 drive blanks / May have bad memory socket(s) – not populated	Yes	Yes	Yes	Yes
HPE	200	https://imgur.com/a/lmPs2R8	3PAR StoreServ File Controller / (DL380p Gen8)	USE410SW1B	C8S69A	2 x Intel(R) Xeon(R) CPU E5-2660 0 @ 2.20GHz / 8/8 cores; 16 threads	16	192	24 x 500205-171 8G 2R DDR3	2	4	HP Ethernet 1Gb 4-port 331FLR Adapter / HP NC523SFP 10Gb 2-port Flex-10 Ethernet Server Adapter	Smart Array P420i Controller / 1GB Cache / QLogic HPAJ764A	Yes	9600	8 x HUC101812CSS200 (1200GB SAS)	iLO Advanced / (Shared NIC1)	4	Quiet	2 x 460 Watts	170W	CentOS 7 Minimal	ILO: admin/admin1234 / OS: root/root	(See System Survey)	Has Windows 2012 Storage Server license sticker on top	Yes	Yes	Yes	Yes
HPE	150	https://imgur.com/a/V54S7xG	ProLiant DL380 G7	2M212802P3	643413-S01	2 x Intel(R) Xeon(R) CPU X5660 @ 2.80GHz / 6/6 cores; 12 threads	12	216	9 x 628974-181 16GB 2R DDR3 / 6 x 500205-171 8G 2R DDR3 / 3 x 500205-071 8G 2R DDR3	0	8	NetXen HP NC375T PCI Express Quad Port Gigabit Server Adapter / Broadcom Corporation NC382i Integrated Multi Port PCI Express Gigabit Server Adapter	Smart Array P410i Controller / 512MB Cache	No	2100	7 x EG0300FBDSP (300GB SAS) / 1 xEH0146FBQDC (146GB SAS) / (possibly bad)	iLO Advanced / (Shared NIC1)	6	Quiet	2 x 460 Watts	175W	CentOS 7 Minimal	ILO: admin/admin1234 / OS: root/root	(See System Survey)	146G drive failed “Short background self test”	Yes	Yes	Yes	Yes
HPE	200	https://imgur.com/a/E0jIsex	ProLiant DL385 G7	USE143N2PC	573123-B21	2 x AMD Opteron 6276 @ 2.30Ghz / 16/16 cores; 16 threads	32	384	24 x 16GB PC3L-10600R 1Gx4 RoHS HP 16GB 2Rx4	4	4	NC382i Integrated Dual Port Multifunction Gigabit Server Adapter / 2 x HP NC523SFP 10Gb 2-port Flex-10 Ethernet Server Adapter	Smart Array P410i Controller / 0MB Cache / QLogic HPAJ764A	Yes	1800	3 x EF0600FATFF (600G SAS)	iLO Advanced / (Shared NIC1)	6	Medium / Quiet(No PCI cards)	2 x 460 Watts	215W / 165W (no PCI cards)	CentOS 7 Minimal	ILO: admin/admin1234 / OS: root/root	(See System Survey)		Yes	Yes	Yes	Yes
HPE	180	https://imgur.com/a/AZmXNyj	ProLiant DL385 G7	USE143N2PA	573123-B21	2 x AMD Opteron 6276 @ 2.30Ghz / 16/16 cores; 16 threads	32	384	24 x 16GB PC3L-10600R 1Gx4 RoHS HP 16GB 2Rx4	4	4	NC382i Integrated Dual Port Multifunction Gigabit Server Adapter / 2 x HP NC523SFP 10Gb 2-port Flex-10 Ethernet Server Adapter	Smart Array P410i Controller / 0MB Cache / QLogic HPAJ764A	Yes	1800	3 x EF0600FATFF (600G SAS)	iLO Advanced / (Shared NIC1)	6	Medium / Quiet(No PCI cards)	2 x 460 Watts	215W / 165W (no PCI cards)	CentOS 7 Minimal	ILO: admin/admin1234 / OS: root/root	(See System Survey)	Left ear bent to hell	Yes	Yes	Yes	Yes
HPE	200	https://imgur.com/a/CdnliIG	ProLiant DL385 G7	USE143N2PH	573123-B21	2 x AMD Opteron 6276 @ 2.30Ghz / 16/16 cores; 16 threads	32	384	24 x 16GB PC3L-10600R 1Gx4 RoHS HP 16GB 2Rx4	4	4	NC382i Integrated Dual Port Multifunction Gigabit Server Adapter / 2 x HP NC523SFP 10Gb 2-port Flex-10 Ethernet Server Adapter	Smart Array P410i Controller / 0MB Cache / QLogic HPAJ764A	Yes	1800	3 x EF0600FATFF (600G SAS)	iLO Advanced / (Shared NIC1)	6	Medium / Quiet(No PCI cards)	2 x 460 Watts	215W / 165W (no PCI cards)	CentOS 7 Minimal	ILO: admin/admin1234 / OS: root/root	(See System Survey)		Yes	Yes	Yes	Yes
HPE	200	https://imgur.com/a/qzDf2CP	ProLiant DL385 G7	USE143N2P9	573123-B21	2 x AMD Opteron 6276 @ 2.30Ghz / 16/16 cores; 16 threads	32	384	24 x 16GB PC3L-10600R 1Gx4 RoHS HP 16GB 2Rx4	4	4	NC382i Integrated Dual Port Multifunction Gigabit Server Adapter / 2 x HP NC523SFP 10Gb 2-port Flex-10 Ethernet Server Adapter	Smart Array P410i Controller / 0MB Cache / QLogic HPAJ764A	Yes	1800	3 x EF0600FATFF (600G SAS)	iLO Advanced / (Shared NIC1)	6	Medium / Quiet(No PCI cards)	2 x 460 Watts	215W / 165W (no PCI cards)	CentOS 7 Minimal	ILO: admin/admin1234 / OS: root/root	(See System Survey)		Yes	Yes	Yes	Yes
HPE	200	https://imgur.com/a/WQPHNGa	ProLiant DL385 G7	USE143N2PF	573123-B21	2 x AMD Opteron 6276 @ 2.30Ghz / 16/16 cores; 16 threads	32	384	24 x 16GB PC3L-10600R 1Gx4 RoHS HP 16GB 2Rx4	4	4	NC382i Integrated Dual Port Multifunction Gigabit Server Adapter / 2 x HP NC523SFP 10Gb 2-port Flex-10 Ethernet Server Adapter	Smart Array P410i Controller / 0MB Cache / QLogic HPAJ764A	Yes	1200	2 x EF0600FATFF (600G SAS)	iLO Advanced / (Shared NIC1)	6	Medium / Quiet(No PCI cards)	2 x 460 Watts	215W / 165W (no PCI cards)	CentOS 7 Minimal	ILO: admin/admin1234 / OS: root/root	(See System Survey)		Yes	Yes	Yes	Yes
HPE	200	https://imgur.com/a/MDdxqR1	ProLiant DL385 G7	USE143N2PG	573123-B21	2 x AMD Opteron 6276 @ 2.30Ghz / 16/16 cores; 16 threads	32	384	24 x 16GB PC3L-10600R 1Gx4 RoHS HP 16GB 2Rx4	4	4	NC382i Integrated Dual Port Multifunction Gigabit Server Adapter / 2 x HP NC523SFP 10Gb 2-port Flex-10 Ethernet Server Adapter	Smart Array P410i Controller / 0MB Cache / QLogic HPAJ764A	Yes	1200	2 x EF0600FATFF (600G SAS)	iLO Advanced / (Shared NIC1)	6	Medium / Quiet(No PCI cards)	2 x 460 Watts	215W / 165W (no PCI cards)	CentOS 7 Minimal	ILO: admin/admin1234 / OS: root/root	(See System Survey)		Yes	Yes	Yes	Yes
Dell	75	https://imgur.com/a/PmeIaFx	PowerEdge R610	BKCNML1	N/A	2 x Intel E5-530 @ 2.4Ghz / 4 cores	8	96	6 x HP 500205-071 8G 2R DDR3 / 3 x KVR1333D3D4R9SK2/16G 8G 2R DDR3	0	8	Broadcom NetXtreme II BCM5709 4-port Gigabit Adapter / Intel 82575GB 4-port Gigabit Adapter	PERC 6/i / (No cache?)	No	1168	8 x ST9146852SS (146GB SAS)	DRAC Enterprise / (Shared NICs)	6	Quiet	2 x 717 Watts	175W	CentOS 7 Minimal	DRAC: root/calvin / OS: root/root	Bios 6.4.0 10/9/13 / PERC 6/i 6.3.3.0002 / DRAC 2.92	Each Kingston DIMM is a kit of 2x8GB / Finger holder for 1 PSU broken	Yes	Yes	N/A	Yes
Dell	100	https://imgur.com/a/gucAkYT	PowerEdge R710	C4Z9JQ1	N/A	2 x Intel E5-645 @ 2.4Ghz / 6 cores	12	144	18 x HP 500205-171 8G 2R DDR3	2	4	Broadcom NetXtreme II BCM5709 4-port Gigabit Adapter / BCM957711A1113G Dell Broadcom II 57711 Dual-port SFP+ 10GB NIC / (fan need replacing)	PERC H700 / (No cache?)	No	3000	1 x AL13SXL600N (600G SAS) / 4 x ST360057SS (600G SAS)	DRAC Enterprise / (Shared NICs)	5	Quiet	2 x 870 Watts	245W	CentOS 7 Minimal	DRAC: root/calvin / OS: root/root	Bios 6.4.0 10/9/13 / H700 12.10.7 / DRAC 2.92	10G NIC fan on it is loud and unstable sounds like it is failing. / LCD says RAID battery has less than 24hrs of capacity	Yes	Yes	N/A	Yes
Dell	150	https://imgur.com/a/yULmMGp	PowerEdge R710	JGR0TR1	N/A	2 x Intel E5-645 @ 2.4Ghz / 6 cores	12	144	18 x HP 500205-171 8G 2R DDR3	2	4	Broadcom NetXtreme II BCM5709 4-port Gigabit Adapter / BCM957711A1113G Dell Broadcom II 57711 Dual-port SFP+ 10GB NIC	PERC H700 / (No cache?) / LSI SAS1068 PCI-X Fusion-MPT SAS	No	9200	1 x DKS2P-H2R0SS (2TB SAS) / 3 x ST2000NM0001 (2TB SAS) / 1 x AL13SX600N (600G SAS) / 1x ST3600057SS (600GB SAS)	DRAC Enterprise / (Shared NICs)	5	Quiet	2 x 870 Watts	230W	CentOS 7 Minimal	DRAC: root/calvin / OS: root/root	Bios 6.4.0 10/9/13 / H700 12.10.7 / DRAC 2.92 / Lifecyle controller 1.7.5.4	Replaced CMOS battery	Yes	Yes	N/A	Yes
Google	0	https://imgur.com/a/JeQBAQ0	Google Search Mini	N/A	N/A	LGA775 Socket on motherboard / Possibly P4, PD, Celeron, Celeron D			Unknown			Unknown	Unknown	No		Unknown	No		Loud	Unknown	83W	Google Linux / Something / based on / RHEL/CentOS	Unknown	Unknown	Supermicro P8SCT Motherboard / Can get to LILO prompt by holding shift on boot, USB keyboard does not work with this LILO possibly due to bios setting. PS/2 Keyboard may work	No	No	N/A	No
															38836

## Memory
Price	Quantity	Brand	Imgur	Part Number		Size	Specification	Origin	Notes
3	64	HP	https://imgur.com/a/inaWaZH	500205-171		8GB	1333Mhz DDR3-1333/PC3-10600 DR	Samsung	Works in R610, R710, HP G7, HP Gen8 with Xeon rev 0 CPUs.
2	12	HP	https://imgur.com/a/inaWaZH	71352-081		8GB	1600Mhz DDR3-1600/PC3-12800 DR Unbuffered	Samsung	Doesn’t work in R610/R710, works in some HP limit of 2 sticks per channel
3	2	HP	https://imgur.com/a/inaWaZH	500205-071		8GB	1333Mhz DDR3-1333/PC3-10600 DR	Hynix	Works in R610, R710, HP G7, HP Gen8 with Xeon rev 0 CPUs. Memory has heatsinks
3	2	HP	https://imgur.com/a/inaWaZH	647650-071		8GB	1333Mhz DDR3-1333/PC3-10600 DR	Hynix	Pulled from Gen8
3	4	HP	https://imgur.com/a/inaWaZH	647650-071		8GB	1333Mhz DDR3-1333/PC3-10600 DR	Micron
2	8	HP	https://imgur.com/a/inaWaZH	647647-071		4GB	1333Mhz DDR3-1333/PC3-10600 SR	Micron	Pulled from Gen8
0	1	HP	https://imgur.com/a/inaWaZH	628974-181		16G	DDR3-1333 RDIMM PC3L-10600R Dual Rank x4	Samsung	Pulled from Gen8
0	1	HP	https://imgur.com/a/inaWaZH	647653-081		16G	DDR3-1333 RDIMM PC3L-10600R Dual Rank x4	Micron

## Cables
Price	Imgur	Condition	Manufacturer	Model / Number	Part / Number	Description	Notes
0	https://imgur.com/a/sz9Gj4i	New	Arista	CAB-SFP-SFP-3M	CBL-00005-02	10GBase-CR SFP+ 3M Passive Copper Cable
0	https://imgur.com/a/sz9Gj4i	New	Arista	CAB-SFP-SFP-3M	CBL-00005-02	10GBase-CR SFP+ 3M Passive Copper Cable
0	https://imgur.com/a/sz9Gj4i	New	Arista	CAB-SFP-SFP-3M	CBL-00005-02	10GBase-CR SFP+ 3M Passive Copper Cable
0	https://imgur.com/a/sz9Gj4i	New	Arista	CAB-SFP-SFP-5M	CBL-00006-02	10GBase-CR SFP+ 5M Passive Copper Cable
0	https://imgur.com/a/sz9Gj4i	New	Arista	CAB-SFP-SFP-5M	CBL-00006-02	10GBase-CR SFP+ 5M Passive Copper Cable
0	https://imgur.com/a/sz9Gj4i	New	Arista	CAB-SFP-SFP-5M	CBL-00006-02	10GBase-CR SFP+ 5M Passive Copper Cable
0	https://imgur.com/a/sz9Gj4i	New	Arista	CAB-SFP-SFP-5M	CBL-00006-02	10GBase-CR SFP+ 5M Passive Copper Cable
0	https://imgur.com/a/sz9Gj4i	New	Arista	CAB-SFP-SFP-5M	CBL-00006-02	10GBase-CR SFP+ 5M Passive Copper Cable
0	https://imgur.com/a/vtLkzjf	New	CCX	N/A	CAB-SFP-SFP-5M-CCX	10Gbase-CU SFP+ to SFP+ Passive Twinax 5M (Arista Compatible)
0	https://imgur.com/a/vtLkzjf	New	CCX	N/A	CAB-SFP-SFP-5M-CCX	10Gbase-CU SFP+ to SFP+ Passive Twinax 5M (Arista Compatible)
0	https://imgur.com/a/vtLkzjf	New	CCX	N/A	CAB-SFP-SFP-5M-CCX	10Gbase-CU SFP+ to SFP+ Passive Twinax 5M (Arista Compatible)
0	https://imgur.com/a/vtLkzjf	New	CCX	N/A	CAB-SFP-SFP-3M-CCX	10Gbase-CU SFP+ to SFP+ Passive Twinax 3M (Arista Compatible)
0	https://imgur.com/a/vtLkzjf	New	CCX	N/A	CAB-SFP-SFP-3M-CCX	10Gbase-CU SFP+ to SFP+ Passive Twinax 3M (Arista Compatible)
0	https://imgur.com/a/vtLkzjf	New	CCX	N/A	CAB-SFP-SFP-3M-CCX	10Gbase-CU SFP+ to SFP+ Passive Twinax 3M (Arista Compatible)
0	https://imgur.com/a/vtLkzjf	New	CCX	N/A	CAB-SFP-SFP-3M-CCX	10Gbase-CU SFP+ to SFP+ Passive Twinax 3M (Arista Compatible)
0	https://imgur.com/a/vtLkzjf	New	CCX	N/A	CAB-SFP-SFP-3M-CCX	10Gbase-CU SFP+ to SFP+ Passive Twinax 3M (Arista Compatible)
0	https://imgur.com/a/vtLkzjf	New	CCX	N/A	CAB-SFP-SFP-3M-CCX	10Gbase-CU SFP+ to SFP+ Passive Twinax 3M (Arista Compatible)
0	(on SN6000 page)	Used	HP	N/A	QK733A	2m PremierFlex OM4 LC/LC Multi-Mode Optical Cable
0	(on SN6000 page)	Used	HP	N/A	QK733A	2m PremierFlex OM4 LC/LC Multi-Mode Optical Cable
0	(on SN6000 page)	Used	HP	N/A	QK733A	2m PremierFlex OM4 LC/LC Multi-Mode Optical Cable
0	(on SN6000 page)	Used	HP	N/A	QK733A	2m PremierFlex OM4 LC/LC Multi-Mode Optical Cable
0	(on SN6000 page)	Used	HP	N/A	QK733A	2m PremierFlex OM4 LC/LC Multi-Mode Optical Cable
0	(on SN6000 page)	Used	HP	N/A	QK733A	2m PremierFlex OM4 LC/LC Multi-Mode Optical Cable
0	(on SN6000 page)	Used	HP	N/A	QK733A	2m PremierFlex OM4 LC/LC Multi-Mode Optical Cable
0	(on SN6000 page)	Used	HP	N/A	QK733A	2m PremierFlex OM4 LC/LC Multi-Mode Optical Cable
0	(on SN6000 page)	Used	HP	N/A	QK733A	2m PremierFlex OM4 LC/LC Multi-Mode Optical Cable
0	(on X670 page)	Used	Extreme	N/A	10304	10GBASE-CR SFP+ pre-terminated twin-ax copper cable with link lengths of 1m
0	(on X670 page)	Used	Extreme	N/A	10304	10GBASE-CR SFP+ pre-terminated twin-ax copper cable with link lengths of 1m
0	(on X670 page)	Used	Extreme	N/A	10305	10GBASE-CR SFP+ pre-terminated twin-ax copper cable with link lengths of 3m

0		Used	N/A	N/A	N/A	AC Power Cable ~5 Feet
0		Used	N/A	N/A	N/A	AC Power Cable ~5 Feet
0		Used	N/A	N/A	N/A	AC Power Cable ~5 Feet
0		Used	N/A	N/A	N/A	DVI to DVI Cable ~5 Feet
0		Used	N/A	N/A	N/A	DVI to DVI Cable ~5 Feet
0		Used	N/A	N/A	N/A	DVI to DVI Cable ~5 Feet
0		Used	N/A	N/A	N/A	HDMI Cable ~5 Feet
0		Used	N/A	N/A	N/A	HDMI Cable ~5 Feet

## Misc
Price	Imgur	Condition	Manufacturer	Model / Number	Part / Number	Description	Notes
0	https://imgur.com/a/w3uuZl5	New	AC Infinity		AI-CPT1	An intelligent fan system designed for cooling audio video, DJ, server, network, and IT equipment racks. / Protects rack-mount equipment from overheating, performance issues, and shortened lifespans. / Programmable thermostat controller with automated speed control, alarm warnings, and backup memory. / Premium anodized aluminum construction with CNC-machined detailing for a professional appearance. / Size: 1U Rack Space | Design: Exhaust | Airflow: 20 to 60 CFM | Noise: 8 to 28 dBA | Bearings: Dual Ball	$129 online
0	https://imgur.com/a/XFV8DUW	New	Ametek		XG-PCS-15D	The Next Gen combines advanced power protection and filtration with analytical software to proactively / Mitigate and manage power quality events that negatively affect a business. / Measures neutral to ground voltage and line frequency metrics / 60 time stamped events / Downloadable reports / Customizable settings / Multi-Stage power protection and conditioning technology / Catastrophic over/under voltage shutdown / Inrush current elimination / Remote access capable with optional Remote Portal module	$195 online
0	https://imgur.com/a/lRhVQc3	Used	Viewsonic		VX2452mh	24" 1080p 2ms Monitor with HDMI, VGA, DVI	$185 online new
0	https://imgur.com/a/lRhVQc3	Used	Viewsonic		VX2452mh	24" 1080p 2ms Monitor with HDMI, VGA, DVI	$185 online new
0	https://imgur.com/a/Ypscmxz	Used	Dell		ST2420L	1080p Monitor with HDMI, VGA, DVI	$100 online used
0	https://imgur.com/a/Ypscmxz	Used	Dell		ST2420L	1080p Monitor with HDMI, VGA, DVI	$100 online used
0	https://imgur.com/a/uzfpJ1i	Used	HP		N/A	DL360 Gen8 System Fan
0	https://imgur.com/a/uzfpJ1i	Used	HP		N/A	DL360 Gen8 System Fan
0	https://imgur.com/a/uzfpJ1i	Used	HP		N/A	DL360 Gen8 System Fan
0	https://imgur.com/a/uzfpJ1i	Used	HP		N/A	DL360 Gen8 System Fan
0	https://imgur.com/a/DawAdp8	Used	Extreme Networks		10927	550W AC Power Supply module for Summit switches, Back-to-Front airflow
0	https://imgur.com/a/DawAdp8	Used	Extreme Networks		10927	550W AC Power Supply module for Summit switches, Back-to-Front airflow
0	https://imgur.com/a/DawAdp8	Used	Extreme Networks		10917	SUMMIT X480 AC PSU AC POWER SUPPLY MODULE FOR SUMMIT SERIES Front to back airflow
0	https://imgur.com/a/DawAdp8	Used	Extreme Networks		17112	Fan module for Summit X670 series switches, Back-to-Front airflow, spare
0	https://imgur.com/a/DawAdp8	Used	Extreme Networks		17112	Fan module for Summit X670 series switches, Back-to-Front airflow, spare
0	https://imgur.com/a/DawAdp8	Used	Extreme Networks		17112	Fan module for Summit X670 series switches, Back-to-Front airflow, spare
25	https://imgur.com/a/ir89gDf	Used	HP			Rail Kit for DL385 G7
25	https://imgur.com/a/w4BUiI5	Used	HP			Rail Kit for DL385 G7

0	https://imgur.com/a/1m8rGKS	Used	Sandisk			4GB SD Card
0	https://imgur.com/a/1m8rGKS	Used	Sandisk			4GB SD Card
0	https://imgur.com/a/1m8rGKS	Used	Sandisk			4GB SD Card
0	https://imgur.com/a/1m8rGKS	Used	Sandisk			4GB SD Card
0	https://imgur.com/a/1m8rGKS	Used	Kingston			1GB SD Card
0	https://imgur.com/a/1m8rGKS	Used	HP			8G SD Card
0	https://imgur.com/a/1m8rGKS	Used	Samsung			32G SD Card
0	https://imgur.com/a/1m8rGKS	Used	Verbatim			16G SD Card
0	https://imgur.com/a/1m8rGKS	Used	Generic			4GB SD Card
0	https://imgur.com/a/1m8rGKS	Used	Generic			4GB SD Card
0	https://imgur.com/a/1m8rGKS	Used	Generic			4GB SD Card